## Sheet1
AWS maintenance template
AWS name: | Time: | Date: | Observer:
Glacier 1 Mid Met | 15:10 | 09-July-2009 | AMD
General conditions of the tripod: |  | Conditions of sensors /external wires:
Some water inside enclosure. Should change desicant. |  | Wires look OK. Seal along edge look good Water MW had water in when I opened it
Enclosure : |  |  | Notes:
Height (cm)= | -- | ± -- | --
Sfc type= | -- | --
Snow depth (cm)= | -- | -- | --
GPS coordinates : |  | Notes:
N= | -- | --
E= | --
z= | --
TC/RH: |  |  | Notes:
Height to base of shield (cm) = | -- | ± -- | --
RAIN: |  |  | Notes:
Height of rim above snow/ice surface (cm) = | -- | ± -- | --
WS/WD: |  |  | Notes:
Sensor orientation (junction box): | -- | -- | --
Sensor reoriented? | -- | --
NRLITE: |  |  | Notes:
Sfc type = | -- | -- | --
Snow mass (g) = | -- | --
Snow depth under sensor (cm) = | -- | --
Sensor tilt along mounting arm = | -- | --
Sensor tilt orthogonal to mounting arm = | -- | --
Sensor relevelled? (Y/N) | -- | --
CMA6/CNR4: |  |  | Notes:
Sfc type = | -- | -- | --
Snow mass (g)= | -- | --
Snow depth under sensor (cm)= | -- | --
Sensor tilt along mounting arm= | -- | --
Sensor tilt orthogonal to mounting arm= | -- | --
Sensor relevelled? | -- | --
SR50: |  | Notes:
Sfc type = | -- | --
Sensor distance from surface (cm) = | --
Snow depth under sensor (cm) = | --
Snow mass (g) = | --
Height of glacier-left or downglacier arm (cm) = | -- | ± -- | --
Snow depth (cm) = | -- | -- | --
Height of glacier-right or upglacier arm (cm) = | -- | ± -- | --
Snow depth (cm) = | -- | -- | --
Condition of enclosure interior and wires:
Wires are in place Putty is in good shape |  | Power supply charging? (Y/N) | --
|  | Humidity: | --
|  | Desiccant replaced? (Y/N) | --
Data |  | Notes
Logger clock (compared to watch):
Program currently running:
Final storage values (5 min)
Date/time:
WS: | 1.3557 | SWin: | 463
WD: | 22.59 | SWout: | 168
WDSD: | -- | CNR4: | --
WSmax: | -- | Short up: | --
TC: | -- | Short down: | --
NR: | 698.76 | Long up: | --
RH: | 69.57 | Long down: | --
Final storage values (30 min) |  | Notes
Date/time: | -- | All sensors are have errors Has no addresses Re computing program. Program is long Did not acquire address
DT: | 2.897
BP: | 777.68
Rain: | --
Health (24 h) |  | Notes
Date/time: | -- | MM foot size 14cm by 13cm
Time of BVmin: | --
BV/BVmin: | 13.58
PT: | 16.49
New instrument
New instrument(s) installed? (Y/N) | -- | Time: | --
Instrument type/model: |  | Notes:
-- |  | --
Card Swap
Was card swapped? (Y/N) |  | New program:
Final storage values (5 min)
Date/time: | --
WS: | -- | SWin: | --
WD: | -- | SWout: | --
WDSD: | -- | CNR4: | --
WSmax: | -- | Short up: | --
TC: | -- | Short down: | --
NR: | -- | Long up: | --
RH: | -- | Long down: | --
Final storage values (30 min) |  | Notes
Date/time: | -- | --
DT: | --
BP: | --
Rain: | --
Other maintenance notes:
--
* - Indicates not written in field notebook
? - Indicates confusion in the legibility of the writing