## Sheet1
AWS maintenance template
AWS name: | Time: | Date: | Observer:
Glacier 1 Mid Met | 3:54pm | 27-July-2012 | GEF
General conditions of the tripod: |  | Conditions of sensors /external wires:
-snow on GL left of tripod -under radiometer sfc = white ice/snow (pre-cryoconite) |  | -Rain gauge exposed -sensors look good
Enclosure : |  |  | Notes:
Height (cm)= | -- | ± -- | --
Sfc type= | -- | --
Snow depth (cm)= | -- | -- | --
GPS coordinates : |  | Notes:
N= | -- | --
E= | --
z= | --
TC/RH: |  |  | Notes:
Height to base of shield (cm) = | -- | ± -- | --
RAIN: |  |  | Notes:
Height of rim above snow/ice surface (cm) = | -- | ± -- | --
WS/WD: |  |  | Notes:
Sensor orientation (junction box): | -- | -- | --
Sensor reoriented? | -- | --
NRLITE: |  |  | Notes:
Sfc type = | -- | -- | --
Snow mass (g) = | -- | --
Snow depth under sensor (cm) = | -- | --
Sensor tilt along mounting arm = | -- | --
Sensor tilt orthogonal to mounting arm = | -- | --
Sensor relevelled? (Y/N) | -- | --
CMA6/CNR4: |  |  | Notes:
Sfc type = | -- | -- | --
Snow mass (g)= | -- | --
Snow depth under sensor (cm)= | -- | --
Sensor tilt along mounting arm= | -- | --
Sensor tilt orthogonal to mounting arm= | -- | --
Sensor relevelled? | -- | --
SR50: |  | Notes:
Sfc type = | -- | --
Sensor distance from surface (cm) = | --
Snow depth under sensor (cm) = | --
Snow mass (g) = | --
Height of glacier-left or downglacier arm (cm) = | -- | ± -- | --
Snow depth (cm) = | -- | -- | --
Height of glacier-right or upglacier arm (cm) = | -- | ± -- | --
Snow depth (cm) = | -- | -- | --
Condition of enclosure interior and wires:
-Desiccant = all blue (Desiccant was replaced this month) -batt charging light on -wiring looks ok but some wires have ends? That are too long |  | Power supply charging? (Y/N) | Yes
|  | Humidity: | Blue
|  | Desiccant replaced? (Y/N) | --
Data |  | Notes
Logger clock (compared to watch): | ~15s behind GEF watch | --
Program currently running: | CRD: Gl1_MM_withCNR..
Final storage values (5 min)
Date/time: | 2012-07-27 16:00:00
WS: | 6.337 | SWin: | --
WD: | 325.8 | SWout: | --
WDSD: | 5.075 | CNR4: | 9.4731
WSmax: | 7.762 | Short up: | 530.657
TC: | 7.726 | Short down: | 234.2388
NR: | 253.6 | Long up: | 317.6325
RH: | 69.74 | Long down: | 330.5836
Final storage values (30 min) |  | Notes
Date/time: | -- | lg dn carr = 330.5836 lg up carr = 317.6325
DT: | 1.437
BP: | 769.3754
Rain: | 0
Health (24 h) |  | Notes
Date/time: | 2012-07-27 00:00:00 | PT: 18:25:30
Time of BVmin: | 06:30:00
BV/BVmin: | 13.82/12.57/13.41
PT: | 11.89/2.609/5.909
New instrument
New instrument(s) installed? (Y/N) | -- | Time: | --
Instrument type/model: |  | Notes:
-- |  | 4:22pm SR50 reset on lower 10' poles New sensor height above snow = 100cm snow under sensor = 12cm GL right arm of cross bar = 146cm GL left arm of cross bar = 144cm
Card Swap
Was card swapped? (Y/N) | No | New program: | --
Final storage values (5 min)
Date/time: | --
WS: | -- | SWin: | --
WD: | -- | SWout: | --
WDSD: | -- | CNR4: | --
WSmax: | -- | Short up: | --
TC: | -- | Short down: | --
NR: | -- | Long up: | --
RH: | -- | Long down: | --
Final storage values (30 min) |  | Notes
Date/time: | -- | --
DT: | --
BP: | --
Rain: | --
Other maintenance notes:
Decided NOT to change card @ MM b/c it started raining hard and I didn't think I could do it w/out getting logger wet. I did check the final storage after the SR50 was swapped and the 16:30 reading showed a new value for the SR50 --> something less than 1m
* - Indicates not written in field notebook
? - Indicates confusion in the legibility of the writing