## Sheet1
AWS maintenance template
AWS name: | Time: | Date: | Observer:
Glacier 1 Mid Met | 18:40 | 08-July-2011 | FBB
General conditions of the tripod: |  | Conditions of sensors /external wires:
-Rain gauge: OK -MM still tilted towards downstream -Solar panel OK -Rusty square U bolt attached to the tripod #3; 2 w/ flat joint on bolt inside |  | -Cables: SR50 cable if very tired (Crocked) -T/RH: OK -Net radiometer: level bubble glass is not transparent anymore, not possible to see the bubble.
Enclosure : |  |  | Notes:
Height (cm)= | -- | ± -- | --
Sfc type= | -- | --
Snow depth (cm)= | -- | -- | --
GPS coordinates : |  | Notes:
N= | -- | --
E= | --
z= | --
TC/RH: |  |  | Notes:
Height to base of shield (cm) = | -- | ± -- | --
RAIN: |  |  | Notes:
Height of rim above snow/ice surface (cm) = | -- | ± -- | --
WS/WD: |  |  | Notes:
Sensor orientation (junction box): | -- | -- | -WS: off North by 20° to W. -18:52: WS resetting. 18:54:30 done
Sensor reoriented? | -- | --
NRLITE: |  |  | Notes:
Sfc type = | -- | -- | --
Snow mass (g) = | -- | --
Snow depth under sensor (cm) = | -- | --
Sensor tilt along mounting arm = | -- | --
Sensor tilt orthogonal to mounting arm = | -- | --
Sensor relevelled? (Y/N) | -- | --
CMA6/CNR4: |  |  | Notes:
Sfc type = | -- | -- | -CNR4 tilted upglacier
Snow mass (g)= | -- | --
Snow depth under sensor (cm)= | -- | --
Sensor tilt along mounting arm= | -- | --
Sensor tilt orthogonal to mounting arm= | -- | --
Sensor relevelled? | -- | --
SR50: |  | Notes:
Sfc type = | -- | -SR50 still tilted --> needs reset. Poles "open" ---> needs to be changed?
Sensor distance from surface (cm) = | --
Snow depth under sensor (cm) = | --
Snow mass (g) = | --
Height of glacier-left or downglacier arm (cm) = | -- | ± -- | --
Snow depth (cm) = | -- | -- | --
Height of glacier-right or upglacier arm (cm) = | -- | ± -- | --
Snow depth (cm) = | -- | -- | --
Condition of enclosure interior and wires:
-Desiccant is blue => good -Putty OK -Wires OK |  | Power supply charging? (Y/N) | --
|  | Humidity: | Blue
|  | Desiccant replaced? (Y/N) | --
Data |  | Notes
Logger clock (compared to watch): | ~accurate to 1s | --
Program currently running: | GL1_MM_WITH_CNR.
Final storage values (5 min)
Date/time: | 8.07.2011 19:00
WS: | 0.456 | SWin: | --
WD: | 273.8 | SWout: | --
WDSD: | 35.28 | CNR4: | 1.0049
WSmax: | 1.081 | Short up: | 500.2321
TC: | 6.72 | Short down: | 153.3183
NR: | 288.1 | Long up: | 248.3202
RH: | 42.61 | Long down: | 330.7524
Final storage values (30 min) |  | Notes
Date/time: | -- | --
DT: | 2.101
BP: | 769.8255
Rain: | 0
Health (24 h) |  | Notes
Date/time: | -- | --
Time of BVmin: | --
BV/BVmin: | 13.96/12.64/5.30/13.55
PT: | 13.000/14.40/-1.629/3.622
New instrument
New instrument(s) installed? (Y/N) | -- | Time: | --
Instrument type/model: |  | Notes:
-- |  | --
Card Swap
Was card swapped? (Y/N) | -- | New program: | --
Final storage values (5 min)
Date/time: | 8.07.2011 2:30
WS: | -- | SWin: | --
WD: | -- | SWout: | --
WDSD: | -- | CNR4: | --
WSmax: | -- | Short up: | 0
TC: | -- | Short down: | 1.9212
NR: | -- | Long up: | 232.9443
RH: | -- | Long down: | 301.1186
Final storage values (30 min) |  | Notes
Date/time: | -- | Long up: upward facing. long down: downward facing
DT: | --
BP: | --
Rain: | --
Other maintenance notes:
Wiring of CNR4: in box wire 1 (with green tape): small & big black - G white - SE3 wire 2: green - SE16 brown - SE15 yellow - SE14 blue - SE8 grey - SE13 red - SE7 white - SE11 small black - SE12 big " - G Old MM pole found in front of MM => needs to be GPS surveyed
* - Indicates not written in field notebook
? - Indicates confusion in the legibility of the writing